MAIN STAGE LUMINAIRES

GALLERY:

NIETHAMMER HPZ 2515D 15°-40°ZOOM 2.5KW	14

NIETHAMMER HPZ 2511D 11°-22°ZOOM 2.5KW	4

SELECON AURORA CYC 4 WAY 4*1250W	6

MOVING LIGHTING BRIDGE:

ADB C 203 8⁰-58⁰ 2KW	17

ETC SOURCE FOR ZOOM 15°-30° 750W	9

CLAY PAKY COLOR 300W	14

CLAY PAKY STAGE ZOOM 1.2KW	3

LIGHTING TOWERS INSIDE:

ETC 25°-50°ZOOM 750W	6

ADB C 203 8⁰-58⁰ 2KW	6

ADB F 201 12⁰-61⁰ 2KW	2

LIGHTING TOWERS OUTSIDE:

ETC 15°-30°ZOOM 750W	2

ETC 25°-50°750W	24

ADB F 201 12⁰-61⁰ 2KW	2

ADB C101 1.2KW	4

ORCHESTRAL BRIDGE:

PAR 64 CP 61	8

ETC 15°-30° 750W	8

AUDITORIUM BRIDGE:

ETC 15°-30° 750W	8

ADB F 201 12⁰-61⁰ 2KW	7

CLAY PAKY STAGE COLOR 575W	4

FOLLOW SPOT BRIDGE:

NIETHAMMER HPZ 2511D 11°-22°ZOOM 2.5KW	6

ETC 10° 750W	8

ROBERT JULIET ARAMIS 2.5KW FOLLOW SPOT	2

MOVING LIGHTING & PAR 64 RIGS:

1.LIGHTHOLDER:

CLAY PAKY STAGE ZOOM 1.2KW	4

CLAY PAKY STAGE COLOR 1.2KW	6

PAR 64 CP61	12

2.LIGHTHOLDER:

CLAY PAKY STAGE ZOOM 1.2KW	6

CLAY PAKY STAGE COLOR 1.2KW	4

PAR 64 CP61	12

3.LIGHTHOLDER:

CLAY PAKY STAGE ZOOM 1.2KW	4

CLAY PAKY B-EYE K20	6

PAR 64 CP61	12

AVAB VOYAGER TELESCOPES:

CLAY PAKY STAGE ZOOM 1,2KW	10

CLAY PAKY B-EYE K20	2

MOBIL SET:

CLAY PAKY B-EYE K20	4

CLAY PAKY STAGE ZOOM 1.2KW	4

ETC 25-50° 750W	12

ETC 15-30° 750W	4

PAR 64 CP 61	48

ADB C 203 8⁰-58⁰ 2KW	4

ADB F 201 12⁰-61⁰ 2KW	6

ARRI COMPACT F 2.5KW DAYLIGHT	2

SPOTLIGHT COMBI 50F 5KW 	4

DESISTY LEONARDO PICCOLO 10KW                                                       2

MANFROTTO STANDS CAN BE RAISED TO 2,8M			 	    12

EFFEKTS:

SWEFOG ULTIMATE 3000DMX FOGGER	1

LOOK SOLUTION VIPER NT SMOKE MASHINE	3

LOOK SOLUTION UNIQUE 2.1 HAZE MASHINE	1

GRIVEN 400W UV EFFECT	4

CONSOLE:

ETC EOS TITANIUM	2

2 DMX OUT

2 ETH

ETCNET3 (ACN), ETCNET2, ARTNET, AVAB UDP

2 PCS MULTI TOUCH MONITORS

DIMMERS:

AVAB DIMMERS: 2,5KW	480 (CEE SHUKO)

AVAB DIMMERS: 5KW	24 (CEE SHUKO)

5KW DIRECT SWICH	196 (CEE DAF)